## Slide 1: Well Equations
CE 544 – BRIGHAM YOUNG UNIVERSITY

## Slide 2: Confined Aquifer – Steady State

## Slide 3: Confined Aquifer - Assumptions
Aquifer is homogenous
Aquitard is impermeable
Thickness of the aquifer is constant
Aquifer is of infinite lateral extent
Well fully penetrates the aquifer
Initial water table and upper and lower boundaries of layer are horizontal.
No head loss at the well

## Slide 4: Confined Aquifer
q = - k i A

## Slide 5: Confined Aquifer
Consider plan view:
r
r
w

## Slide 6: Confined Aquifer
Assume flow towards the well is positive:
Integrating:

## Slide 7: Confined Aquifer
at r = rw, h = Hw
at r = R, h = H
Boundary conditions:
We need two sets of boundary conditions

## Slide 8: Confined Aquifer
After combining and rearranging:
named after Thiem (1906)
"Thiem equation"

## Slide 9: Confined Aquifer
Using rw,Hw and r,h
Note that we can formulate the equation differently depending on the boundary conditions we choose:
Using R,H and r,h

## Slide 10: Confined Aquifer
Can be written in terms of h:
or

## Slide 11: Confined Aquifer
The equation for q is often written in terms of drawdown:
at r = R:
s = H - h
sw = H – Hw
at the well:
s = 0

## Slide 12: Confined Aquifer
Equation is often expressed in terms of transmissivity:
T = k D

## Slide 13: Confined Aquifer
The Thiem equation is often used to compute k from a pumping test:
or

## Slide 14: Estimating R
R/rw | Ln(R/rw)
10 | 2.3
100 | 4.6
1000 | 6.9
10,000 | 9.2
The equations aren't very sensitive to the value you use for R. For example:
How to determine R:

## Slide 15: Estimating R
R is often estimated using one of the following formulas (Bear, pg. 306):
Semi-empirical
Lembke R = H(k/2N)0.5
Weber R = 2.45(Hkt/ne) 0.5
Kusakin R = 1.9(Hkt/ne) 0.5
Empirical
Siechardt R = 3000swk0.5
Kusakin R = 575sw(Hk) 0.5
where:
  H = initial thickness (B for confined) [m]
  k = hydraulic conductivity [m/sec]
  sw = drawdown at well [m]
  ne = effective porosity (storativity S, for confined)
  N = accretion from rainfall [m/sec]
Widely used

## Slide 16: Confined Aquifer
Rather than using R, we can write the equations in terms of observation wells.

## Slide 17: Confined Aquifer - Limitations
This method for determining k only works well for soils with high k.
k is the average horizontal k for a large region of soil.
Difficult to determine when steady state conditions develop.
There may be flow present which is independent of the well. The initial water table may be sloping.

## Slide 18: Confined - Multiple Wells
For a single well:
This satisfies Darcy's Law which assumes a linear relationship between flow and gradient. Therefore, superposition is valid.

## Slide 19: Multiple Wells, cont.
or

## Slide 20: Unconfined Aquifers
Well Equations

## Slide 21: Unconfined Aquifer – Steady State
We now have a combination of vertical and horizontal flow.

## Slide 22: Unconfined, cont.

## Slide 23: Unconfined, cont.
Apply the Dupuit assumptions:
From Darcy's Law:
i = constant along a vertical line

## Slide 24: Unconfined, cont.

## Slide 25: Unconfined, cont.
In terms of h vs. r:
Note: These equations actually give the correct flow rate, but the line of seepage is wrong because of the Dupuit assumptions.
if you are using multiple observation wells:

## Slide 26: Unconfined – Drawdown Correction
If you are at a distance r > 1.5H then the error from the Dupuit assumptions becomes small.
Dupuit assumes a = 0.
Equation to correct drawdown curve:

## Slide 27: Unconfined – Drawdown Correction
Hall (1955):
H' = height of drawdown surface at r = 500rw
H' = 50'
Hw = 30'
rw = 0.5'
a = 1.87'
Example

## Slide 28: Unconfined – Multiple Wells
Multiple Wells
Once again, we sum the contributions of the individual wells. For an individual well:
or
However, in this case, we apply the superposition to the term (H2 - h2) rather than to the drawdown, s. This is because of the governing equation. Flow is linearly proportional to h2.

## Slide 29: Unconfined – Partial Penetration
Partially Penetrating Wells

## Slide 30: Unconfined – Partial Penetration
(Same as fully penetrating)

## Slide 31: Unconfined – Partial Penetration
P = Cx + DC
P = 0.13 ln (R/r)

## Slide 32: Confined / Unconfined Aquifers
If you pump a confined aquifer long enough it becomes unconfined:

## Slide 33: Confined/Unconfined, cont.
Muskat (1953) solved this problem: